## Boolean8
Name | Data Type | Attributes | Initial Value | ISP Value | Description
B0 | bool | retain |  |  | LSB in the parameter used for type conversion
B1 | bool | retain
B2 | bool | retain
B3 | bool | retain
B4 | bool | retain
B5 | bool | retain
B6 | bool | retain
B7 | bool | retain |  |  | MSB in the parameter used for type conversion

## Boolean16
Name | Data Type | Attributes | Initial Value | ISP Value | Description
B0 | bool | retain |  |  | LSB in the parameter used for type conversion
B1 | bool | retain
B2 | bool | retain
B3 | bool | retain
B4 | bool | retain
B5 | bool | retain
B6 | bool | retain
B7 | bool | retain
B8 | bool | retain
B9 | bool | retain
B10 | bool | retain
B11 | bool | retain
B12 | bool | retain
B13 | bool | retain
B14 | bool | retain
B15 | bool | retain |  |  | MSB in the parameter used for type conversion

## Boolean32
Name | Data Type | Attributes | Initial Value | ISP Value | Description
B0 | bool | retain |  |  | LSB in the parameter used for type conversion
B1 | bool | retain
B2 | bool | retain
B3 | bool | retain
B4 | bool | retain
B5 | bool | retain
B6 | bool | retain
B7 | bool | retain
B8 | bool | retain
B9 | bool | retain
B10 | bool | retain
B11 | bool | retain
B12 | bool | retain
B13 | bool | retain
B14 | bool | retain
B15 | bool | retain
B16 | bool | retain
B17 | bool | retain
B18 | bool | retain
B19 | bool | retain
B20 | bool | retain
B21 | bool | retain
B22 | bool | retain
B23 | bool | retain
B24 | bool | retain
B25 | bool | retain
B26 | bool | retain
B27 | bool | retain
B28 | bool | retain
B29 | bool | retain
B30 | bool | retain
B31 | bool | retain |  |  | MSB in the parameter used for type conversion

## BoolIO
Name | Data Type | Attributes | Initial Value | ISP Value | Description
Value | bool | retain displayvalue |  | false | Value in the application
IOValue | bool | retain |  | false | Value from I/O before forcing
Forced | bool | retain |  | false | Tells if the input is forced or not
Status | dword | retain | 16#00C0 | 16#00C0 | Error status

## CalendarStruct
Name | Data Type | Attributes | Initial Value | ISP Value | Description
Year | dint |  | 0 |  | Year 1980 ->
Month | dint |  | 0 |  | Month 1 - 12
Day | dint |  | 0 |  | Day 1 - 31
Hour | dint |  | 0 |  | Hour 0 - 23
Minute | dint |  | 0 |  | Minute 0 - 59
Second | dint |  | 0 |  | Second 0 - 59
MilliSecond | dint |  | 0 |  | Millisecond 0 - 999
WeekDayNo | dint |  | 0 |  | 1=Monday, 2=Tuesday, ..., 7=Sunday
WeekNo | dint |  | 0 |  | Week number 1 - 53
IsLeapYear | bool |  | False |  | Indicates if Year is leap year

## DintIO
Name | Data Type | Attributes | Initial Value | ISP Value | Description
Value | dint | retain displayvalue |  | 0 | Value in the application
IOValue | dint | retain |  | 0 | Value from I/O before forcing
Forced | bool | retain |  | false | Tells if the input is forced or not
Status | dword | retain | 16#00C0 | 16#00C0 | Error status

## DwordIO
Name | Data Type | Attributes | Initial Value | ISP Value | Description
Value | dword | retain displayvalue |  | 16#0 | Value in the application
IOValue | dword | retain |  | 16#0 | Value from I/O before forcing
Forced | bool | retain |  | false | Tells if the input is forced or not
Status | dword | retain | 16#00C0 | 16#00C0 | Error status

## HwStatus
Name | Data Type | Attributes | Initial Value | ISP Value | Description
HwState | dint | retain |  |  | Indicates errors or warnings on HW unit
HwStateChangeTime | date_and_time | retain |  |  | Time for error change
ErrorsAndWarnings | dword | retain |  |  | Describes actual errors or warnings on HW unit
ExtendedStatus | dword | retain |  |  | Additional information on HW unit
LatchedErrorsAndWarnings | dword | retain |  |  | Actual errors or warnings since last acknowledge
LatchedExtendedStatus | dword | retain |  |  | Additional information since last acknowledge

## SignalPar
Name | Data Type | Attributes | Initial Value | ISP Value | Description
Max | real | retain | 100.0 | 100.0 | Max value
Min | real | retain | 0.0 | 0.0 | Min value
Inverted | bool | retain |  | false | Tells if input is inverted
Fraction | dint | retain | 1 | 1 | Signal fraction
Unit | string[10] | retain | '' | '' | Unit of the signal

## RealIO
Name | Data Type | Attributes | Initial Value | ISP Value | Description
Value | real | retain displayvalue |  | 0.0 | Value in the application
IOValue | real | retain |  | 0.0 | Value from I/O before forcing
Forced | bool | retain |  | false | Tells if the input is forced or not
Status | dword | retain | 16#C0 | 16#C0 | Error status
Parameters | SignalPar |  |  |  | Measuring range

## TimeZoneInfo
Name | Data Type | Attributes | Initial Value | ISP Value | Description
TimeZoneDiff | dint | retain |  |  | Specifies the difference between local time and UTC time in minutes.
StandardName | string[32] | retain |  |  | Associates a name for the standard time.
StandardDT | CalendarStruct |  |  |  | Specifies the date and time when the transition from daylight time to standard time occurs.
StandardDiff | dint | retain |  |  | Specifies a difference (in minutes) to be used for local time translation during standard time.
DaylightName | string[32] | retain |  |  | Associates a name for the daylight time.
DaylightDT | CalendarStruct |  |  |  | Specifies the date and time when the transition from standard time to daylight time occurs.
DaylightDiff | dint | retain |  |  | Specifies a difference to be used for local time translation during daylight time.